x=[4,5,6.7,10,]        # actual freq (Hz)

y=[4.3,5.4,7.2,10.8,]  # measured freq

yerr=[0.1,0.2,0.2,0.2] # measured err

- We imitated the bubble signal by assuming it to be a square pulse which is 10-15 ms wide.

  - Actual bubble should be around 20 ms wide, consisting of 2 pulses.

- Frequency is estimated by counting the number of signals in 5 sec, taking 100 samples every second

- We looked at 4 different frequencies between 4-10 Hz

  - Actual bubbling rate might be less or within this range, more than this should be alarming

- Signal was sent to the first and last channel of the multiplexer, separately and all the four ADCs, two at a time

  - The maximum possible error range that was seen is reported

- Frequency measured is higher than actual frequency because in the script, we assume that it takes a fixed amount of time to run the script. The actual time taken is slightly longer than what we assume.

- There is an easy fix to this by instead of assuming how long it takes, find out how long it takes in the script.

- Pictures of how a 10 Hz and 5 Hz signal looks is below